## Table 1
List of Projects as per Smart City Proposal : Kochi
Sl. No. | Projects in SCP | Cost (Rs. in Crore)
Area Based Development (ABD)
Water supply - West Kochi
1 | Karuvelipady Pump house – Pumping augmentation | 1
2 | Extension of pipelines from Maradu to Island to be extended to West Kochi to supply 12 MLD | 0.55
3 | Replacement of pipe lines from Perumanoor to Thevara and Thoppumpady bridge to Karuvelipady | 11
4 | Dedicated pumping main | 3.5
5 | Storage capacity augmentation in Karuvelipady sump by 5 million litres | 8
6 | Three OH Tanks in the region (Modibath, Fort Kochi and Koovapadam); Rejuvenation of the | 0.75
7 | Replacement of 20 kms of Distribution line with D.I. pipes including Road cutting charges | 35
8 | Replacement of Household connections (last mile) for across 10,000 HSCs with Smart Metering and isolation valves | 25
9 | Bulk Meters and Isolation valves with remote meter reading | 1
10 | Rider line for increased water supply | 10
11 | Overhead Storage Reservoir + 1 Million Litre Sump + pump near Ernakulam Ground | 3
12 | Replacement of connections (last mile) for across 10,000 HSCs (Commercial and Domestic) with Smart Metering and isolation valves | 20
13 | Bulk Meters and Isolation valves with remote meter reading | 1.5
Water supply - General
14 | Rainwater structures in ~5000 households | 11.25
UGSS
15 | Decentralized Treatment and collection system for West Kochi under ADB (Mundamveli) | 22
16 | Small bore sewer/ Vacuum system for onsite sanitation - Includes storage facility for treated water use for landscaping | 110
17 | Improvements to Elamkulam STP and collection system Mainland (JNNURM scheme) | 70
NMT Roads and Pedestrianized areas
18 | Relaying of roads | 42
19 | Standard Footpaths including signages | 28.53
20 | Restoration/ Rehabilitation of Stormwater drains in the proposed area | 23.6
21 | MLCP and Commercial complex at Kacheripady | 50
Main roads
22 | World class Arterial roads -- KB Jacob & Amravati Road/ Bazaar Road in West/ -- Avenue, MG Rd, DH Rd, Banerjee Rd in Central city | 52.87
23 | Relaying of roads, Aesthetic and improved Urban design Pedestrian facilities with Street furniture, Boulevards and urban greenery | 16.5
24 | Utility ducting for SWD, Water supply, Sewerage, OFC etc | 33
25 | Signages, Junction improvement with Intelligent Traffic management | 0.97
26 | Escalator FOBs | 2.4
Energy Supply - West Kochi
27 | Compact Secondary Substation (990 KVA) | 1.8
28 | Undergound HT Line
29 | Undergound LT Line | 0.1
30 | LT UG for Streetlights | 0.01
31 | AMR Metering - Single phase | 6.9
32 | AMR Metering - Three phase | 1.1
33 | AMR Metering - HT | 0.05
34 | RMU with Remote terminal units | 1.74
35 | Distribution panel board | 21.56
36 | Installation of feeder pillars | 5.24
Energy Supply - Mainland
37 | Underground Cabling - 11 KV | 4.35
38 | LT UG Cabling | 5.01
39 | Installation of Transformers (Compact Sub-stations) | 10.26
40 | Installation of Ring Main Units with Remote terminal units | 7.61
41 | Smart Meters (AMR) | 26.6
42 | Installation of feeder pillars | 30.2
Energy efficiency
43 | Solar based LED with Smart poles | 12.5
44 | Solar panels in Households and Institutions - Grid connected | 17.58
Solid waste and Sanitation
45 | Equipments including Smart Street sweepers/ GPS enabled Vehicles/ Compactors | 6
46 | Bio-composting in all Government institutions | 0.05
Sl. No. | Projects in SCP | Cost (Rs. in Crore)
47 | Household segregated bins for Organic and inorganic wastes | 0.74
48 | Public toilets with Fit-in Treatment facility for Decentralized STP in West kochi | 0.1
Parks and Open spaces
49 | Upgradation of Nehru Park | 2
50 | Development of open spaces and playgrounds | 0.3
51 | Open space corridor linking DH Ground to Mangalavanam (depends on ecological sensitivity) | 0.9
52 | Mangalavanam Eco-restoration project | 1
Canal Restoration
53 | Restoration of Mullassery canal - including linking of standardized area drains | 1
54 | Restoration of Market canal - Walkways and Market square around the canal pond, Solar paneled roofs, LED Lighting, Light posts | 5
55 | Restoration of Kalvathy canal and area drain improvement - Open spaces, Street furniture and landscaping features | 20
56 | Restoration of Rameswaram-Kalvathy canal - Upto Cochin college – Walkways and Linking the Canal Bank Road | 15
Urban mobility
57 | Water transport infrastructure (around 12 100 pax boats) | 42
58 | Electric Feeders, Bicycle Sharing, Elevated Walkways and Travelators | 11.48
59 | Walkway from Ekm Jetty to Metro station | 9
60 | Jetty improvement | 8
61 | Property development along jetties | 7.2
62 | Boatyard and Command & Control Centre | 20
63 | Dredging cost | 10
64 | Extend ‘Smart Wi-Fi bus shelters’ with LED bulbs, FM radio, USB drive slots, magazine/newspaper kiosks, mobile charger units | 0.6
65 | Standard Wifi Enabled Bus Stands With Commercial space development | 3
Housing
66 | Integrated redevelopment of Slum housing | 141.4
67 | Upgradation of infrastructure in Housing through Credit linked schemes | 24.35
68 | Construction & upgradation of 755 DUs in Thuruthy, Kalvathy & Konchery colony | 74.24
69 | Broadway Market and Ernakulam market Redevelopment and Mattancherry spice market | 110
70 | Standard Hawker zones in Fort Kochi | 5
Health
71 | Scale up of GH into a Super-speciality care centres | 30
72 | Integrated development of 4 Hospitals in West Kochi - Excellence in Secondary care | 10
Education
73 | Upgradation of facilities - Basic services, Digital classrooms, Libraries, Eco-toilets, Sports kits , Biogas plant, Urban farming etc
74 | Anganwadis and public schools | 4.5
75 | Higher Educational institutions | 1
Safety and Security
76 | 5 Rapid response boats for water transport safety | 0.5
77 | Drone Surveillance | 0.3
Other Social Infrastructure
78 | Upgradation of Community Centre at Mattancherry with indoor sports facilities | 1
79 | Standardize structures for "Petti Kada" | 0.6
Identity and Culture
80 | Fortkochi and Mattanchery region Master plan for Tourism | 30
Others
81 | Spatial Mapping of assets and SCADA systems for Information gathering with monitoring centres | 15
Pan City
24/7 Water Supply Pan-city
82 | (Intelligent Water Management Solutions for 24X7 Water Supply) | 621
Integrated City APP
83 | (Smart Card Integration & an integrated city app) | 25
84 | Project development and contingency cost | 45
Note- This only indicates cost of individual projects given in the SCP. The total value of SCP may additionally include other costs such as DPR preparation, PMC, O&M etc.